**Appendix 7: Operational notifications**

Prior to connection of the generating facility, the following documents must be issued in the following order: energisation operational notification, interim operational notification and final operational notification. Prior to each notification, the Facility Owner must submit documentation that the facility complies with a number of technical requirements.

Issued operational notifications must be attached to this appendix.

|  |
| --- |
| **Energisation operational notification (EON)** |
| Project name  FORMTEXT Project name |
| Facility Owner  Name: Name  Address: Address  Tel. no.: Tel. no.  Email: email |
| Facility information  Facility address: Address  GSRN: No. |
| **Documents which must be available and approved before a notification can be issued**   * List of agreed protection mechanisms and relay settings for the point of connection between the Facility Owner and the Distribution System Operator. |
| Date of issue |
| Date of expiry  *To be determined by the Distribution System Operator* |
| Distribution System Operator’s signature |

|  |
| --- |
| **Interim operational notification (ION)** |
| Project name |
| Facility Owner  Name: Name  Address: Address  Tel. no.: Tel. no.  Email: email |
| Facility information  Facility address: Address  GSRN: No. |
| **Documents which must be available and approved before a notification can be issued**   * Completed appendix B1.1/B2.1, with technical documentation. |
| Date of issue |
| Date of expiry  *To be determined by the Distribution System Operator, may not exceed 24 months from the date of issue.*  An extension may be granted if requested by the relevant system operator. |
| Distribution System Operator’s signature |

|  |
| --- |
| **Final operational notification (FON)** |
| Project name |
| Facility Owner  Name: Name  Address: Address  Tel. no.: Tel. no.  Email: email |
| Facility information  Facility address: Address  GSRN: No. |
| **Documents which must be available and approved before a notification can be issued**   * Appendix B1.2/B2.2 complete with technical documentation in support of the answers given. * Detailed declaration of conformity. * Update of existing technical information, simulation models and studies. |
| Date of issue |
| Distribution System Operator’s signature |